VALPRO Ltd. FORM FOR NEW PRODUCT DESIGN

GENERAL INFORMATION

Cylinder usage environment or an aim of use:

Main factor for evaluation of project:

| High quality product | Target price, EUR |
| --- | --- |
| Cylinder complying with minimum requirements, targeted towards low price | Target price, EUR |

Forecast of required order amount, pcs:

| Per batch |  |
| --- | --- |
| Per month |  |
| Per year |  |

Delivery address:       *to calculate delivery costs

Preferred time for project start-up:       *week/year

TECHNICAL PARAMETERS

Cylinder volume:       litres

Cylinder type:

With internal coating (PLASCOAT)

Without internal coating

Cylinder design:

2-part cylinder (deep draw technology - max length of shell 400 mm)

3-part cylinder

Cylinder surface treatment:

RAL 3000, 70 microns

Shot blasting

Additional surface treatment:

Other colour:

Cylinder diameter:

- 2-part cylinder (mm):

| 90 | 95 | 110 | 112 | 125 | 150 | 160 | 180 | 190 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

- 3-part cylinder (mm):

| 80 | 110 | 140 | 150 | 160 | 180 | 185 | 190 |
| --- | --- | --- | --- | --- | --- | --- | --- |

- Large size cylinders (mm)*:

| 230 | 240 | 245 | 277 | 293 | 304 | 355 | 370 | 425 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

- Other:

*293 mm is standard diameter. Other large size cylinder manufacture requires additional equipment preparation. For more detailed information please contact sales manager.

Neck type:

| For powder cylinders (St37/St52 DIN 1629) |  | For powder cylinders (St37/St52 DIN 1629) |  |
| --- | --- | --- | --- |
| For foam-water cylinders (AISI 316L/DIN EN 1.4435) |  | For powder and foam cylinders (St37/St52 DIN 1629) |  |

Other type neck (M45 x 1,5, G2 etc.):

Bottom type:

Cylinder clamps:

Clamp for wall bracket

Clamp for hose holder

None

Other:

Maximum allowable pressure PS       bars (VALPRO standard is 20 bars)

Other requirements, which have not been mentioned above:

Please enclose additional information in attachment (photos, drawings etc.).

According to the information given in this form we will prepare and send you approximate price offer. If additional drawing is required, price and process shall be discussed individually. Each case is viewed and evaluated separately.

Company:         Representatives’ name, surname:        Position:       Signature:        Date: